## Sheet1
Velammal Institute of Technology
Department of Mechanical Engineering
ME2304-Engineering Metrology & Measurements
Sl. No | subcode | Dept | Question | Image Path | YearMonth | Mark | Status | Unit | QuesPART
1 | ME2304 | MECH | What is meant by static response? |  | 2013-12-01 | 2 | Active | 1 | A
2 | ME2304 | MECH | Define Tolerance & Zero line |  | 2013-12-01 | 2 | Active | 1 | A
3 | ME2304 | MECH | What are the sources of error ? |  | 2008-12-01 | 2 | Active | 1 | A
4 | ME2304 | MECH | What is Legal Metrology |  | 2014-06-01 | 2 | Active | 1 | A
5 | ME2304 | MECH | Differentiate between sensitivity and range with suitable example |  | 2014-06-01 | 2 | Active | 1 | A
6 | ME2304 | MECH | What do you mean by sensitivity of a measuring instrument |  | 2012-12-01 | 2 | Active | 1 | A
7 | ME2304 | MECH | Define Readability |  | 2012-12-01 | 2 | Active | 1 | A
8 | ME2304 | MECH | What are basic components of a measuring system? |  | 2012-06-01 | 2 | Active | 1 | A
9 | ME2304 | MECH | Define Calibration. |  | 2004-06-01 | 2 | Active | 1 | A
10 | ME2304 | MECH | Define the term Repeatability. |  | 2008-05-01 | 2 | Active | 1 | A
11 | ME2304 | MECH | What is meant by nominal size tolerance? |  | 2011-12-01 | 2 | Active | 1 | A
12 | ME2304 | MECH | Define the term error and correction. |  | 2011-12-01 | 2 | Active | 1 | A
13 | ME2304 | MECH | Define the term ‘Sensitivity’ of an instrument. |  | 2010-12-01 | 2 | Active | 1 | A
14 | ME2304 | MECH | What is hysteresis? |  | 2004-12-01 | 2 | Active | 1 | A
15 | ME2304 | MECH | What is measurement? Give its types |  | 2008-04-01 | 2 | Active | 1 | A
16 | ME2304 | MECH | What is the relationship between sensitivity and range? |  | 2007-11-01 | 2 | Active | 1 | A
17 | ME2304 | MECH | A quartz piezoelectric crystal having a thickness of 2mm and a voltage sensitivity 0.055 Vm/N is subjected to a pressure of 1.38x106 N/m2.Calculate the voltage output. |  | 2004-11-01 | 2 | Active | 1 | A
18 | ME2304 | MECH | Define ’precision’ and ‘accuracy’. |  | 2004-11-01 | 2 | Active | 1 | A
19 | ME2304 | MECH | Distinguish between ‘Line standard’ and ‘End standard’? |  | 2011-12-01 | 2 | Active | 1 | A
20 | ME2304 | MECH | Define the term ‘Sensitivity’ |  | 2004-12-01 | 2 | Active | 1 | A
21 | ME2304 | MECH | What will happen if the gauge blocks are just simply placed one over another and measurements are made? |  | 2011-12-01 | 2 | Active | 2 | A
22 | ME2304 | MECH | What are the constructional requirements of a good sine bar? |  | 2013-12-01 | 2 | Active | 2 | A
23 | ME2304 | MECH | What is a comparator? |  | 2013-12-01 | 2 | Active | 2 | A
24 | ME2304 | MECH | state the working principle of electronic comparator |  | 2014-06-01 | 2 | Active | 2 | A
25 | ME2304 | MECH | A 250 mm sine bar is to be set to an angle of 35⁰5′6″.Find the height of the gauge blocks required using any appropriate set of gauge blocks. |  | 2012-12-01 | 2 | Active | 2 | A
26 | ME2304 | MECH | state the principle of interferometry |  | 2012-12-01 | 2 | Active | 2 | A
27 | ME2304 | MECH | Mention the purpose of gonicmetric heads in Toolmaker's microscope. |  | 2012-06-01 | 2 | Active | 2 | A
28 | ME2304 | MECH | What are the advantages of mechanical comparator |  | 2012-06-01 | 2 | Active | 2 | A
29 | ME2304 | MECH | What are the advantages of electrical and electronic comparator? |  | 2014-06-01 | 2 | Active | 2 | A
30 | ME2304 | MECH | What are sine centers? |  | 2011-12-01 | 2 | Active | 2 | A
31 | ME2304 | MECH | List any four linear measuring instruments? |  | 2009-06-01 | 2 | Active | 2 | A
32 | ME2304 | MECH | Discuss the relative merits and demerits of micrometer and vernier caliper? |  | 2005-12-01 | 2 | Active | 2 | A
33 | ME2304 | MECH | What is the use of autocollimator in mechanical measurements? |  | 2008-04-01 | 2 | Active | 2 | A
34 | ME2304 | MECH | Describe the precautionary measures to be taken at various stages of using slip gauges? |  | 2009-12-01 | 2 | Active | 2 | A
35 | ME2304 | MECH | what are the changes of errors in using sine bars. |  | 2010-12-01 | 2 | Active | 2 | A
36 | ME2304 | MECH | Name any two materials commonly used for gauges. |  | 2008-12-01 | 2 | Active | 2 | A
37 | ME2304 | MECH | What will happen if the gauge blocks are just simply placed one over another and measurements are made? |  | 2011-12-01 | 2 | Active | 2 | A
38 | ME2304 | MECH | What the principle of working of pneumatic comparator? |  | 2004-04-01 | 2 | Active | 2 | A
39 | ME2304 | MECH | Why laser is preferred in Engineering Metrology |  | 2005-12-01 | 2 | Active | 2 | A
40 | ME2304 | MECH | What is the constructional difference between an autocollimator and an angle dekkor. |  | 2003-12-01 | 2 | Active | 2 | A
41 | ME2304 | MECH | What the principle of working of pneumatic comparator? |  | 2004-04-01 | 2 | Active | 2 | A
42 | ME2304 | MECH | Why laser is preferred in Engineering Metrology |  | 2005-12-01 | 2 | Active | 2 | A
43 | ME2304 | MECH | How Taylor’s principle is applied to screw thread gauge? |  | 2008-04-01 | 2 | Active | 3 | A
44 | ME2304 | MECH | Define Degree of fullness and Degree of emptiness in form factor |  | 2013-12-01 | 2 | Active | 3 | A
45 | ME2304 | MECH | Define lead and lead angle |  | 2013-12-01 | 2 | Active | 3 | A
46 | ME2304 | MECH | What are various methods used for measuring the gear tooth thichness? |  | 2014-06-01 | 2 | Active | 3 | A
47 | ME2304 | MECH | Define:Straightness of a line in two planes |  | 2014-06-01 | 2 | Active | 3 | A
48 | ME2304 | MECH | What is constant chord of a gear? |  | 2012-06-01 | 2 | Active | 3 | A
49 | ME2304 | MECH | What is Gear runout? |  | 2012-12-01 | 2 | Active | 3 | A
50 | ME2304 | MECH | What is progressive error in screw thread |  | 2012-12-01 | 2 | Active | 3 | A
51 | ME2304 | MECH | List the reason for the occurrence of progressive pitch errors in screw threads |  | 2012-06-01 | 2 | Active | 3 | A
52 | ME2304 | MECH | What is the consant chord of a gear |  | 2012-06-01 | 2 | Active | 3 | A
53 | ME2304 | MECH | Explain Drunken error in screw threads |  | 2009-06-01 | 2 | Active | 3 | A
54 | ME2304 | MECH | Define Concentricity |  | 2004-04-01 | 2 | Active | 3 | A
55 | ME2304 | MECH | What is the span length over 5 teeth of gear having 45 teeth module 4mm and pressure angle 20 degree? |  | 2004-04-01 | 2 | Active | 3 | A
56 | ME2304 | MECH | Why is monochromatic light used in interferometer instead of white light? |  | 2009-06-01 | 2 | Active | 3 | A
57 | ME2304 | MECH | What is secondary texture of a surface? |  | 2003-11-01 | 2 | Active | 3 | A
58 | ME2304 | MECH | What is the chordal tooth thickness at the pitch line of gear of number of teeth 50 and module 4 mm? |  | 2004-11-01 | 2 | Active | 3 | A
59 | ME2304 | MECH | Name the various stylus probe instruments used for surface finish measurement. |  | 2005-11-01 | 2 | Active | 3 | A
60 | ME2304 | MECH | Define Lead |  | 2005-12-01 | 2 | Active | 3 | A
61 | ME2304 | MECH | What is gear runout? |  | 2012-12-01 | 2 | Active | 3 | A
62 | ME2304 | MECH | List the reason for the occurrence of progressive pitch error in screw threads. |  | 2012-06-01 | 2 | Active | 3 | A
63 | ME2304 | MECH | State the methods used for checking gear tooth profile. |  | 2011-11-01 | 2 | Active | 3 | A
64 | ME2304 | MECH | What is meant by ‘Best Size Wire’ in screw thread manufacturing? |  | 2010-12-01 | 2 | Active | 3 | A
65 | ME2304 | MECH | Name the types of accuracy specifications used for CMM. |  | 2011-11-01 | 2 | Active | 4 | A
66 | ME2304 | MECH | Define machine vision |  | 2013-12-01 | 2 | Active | 4 | A
67 | ME2304 | MECH | Define straightness of axes |  | 2013-12-01 | 2 | Active | 4 | A
68 | ME2304 | MECH | List thevarious geometrical checks made on machine tools |  | 2014-06-01 | 2 | Active | 4 | A
69 | ME2304 | MECH | What is the purpose of retro-reflector in Laser interferometers? |  | 2009-06-01 | 2 | Active | 4 | A
70 | ME2304 | MECH | Define axial slip of machine tool. |  | 2004-04-01 | 2 | Active | 4 | A
71 | ME2304 | MECH | List any four possible causes of error in CMM |  | 2012-12-01
72 | ME2304 | MECH | Distinguish between coordinate and conventional metrology. |  | 2004-04-01 | 2 | Active | 4 | A
73 | ME2304 | MECH | State the applications of CMM in Reverse Engineering. |  | 2004-11-01 | 2 |  | 4 | A
74 | ME2304 | MECH | What are the benefits of using CMM |  | 2006-12-01 | 2 | Active | 4 | A
75 | ME2304 | MECH | List out the different methods of dimensional measurements using laser? |  | 2005-04-01 | 2 | Active | 4 | A
76 | ME2304 | MECH | What are the advantages of computer aided inspection? |  | 2009-12-01 | 2 | Active | 4 | A
77 | ME2304 | MECH | List any possible causes of error in CMM. |  | 2012-11-01 | 2 |  | 4 | A
78 | ME2304 | MECH | Define straightness. |  | 2009-12-01 | 2 | Active | 4 | A
79 | ME2304 | MECH | What are the characteristics of laser? |  | 2012-12-01 | 2 | Active | 4 | A
80 | ME2304 | MECH | What is the advantage of using of laser beam in interferometry ? |  | 2011-11-01 | 2 | Active | 4 | A
81 | ME2304 | MECH | What are the advantages of laser interferometer? |  | 2010-11-01 | 2 |  | 4 | A
82 | ME2304 | MECH | Mention any four advantages of column type CMM |  | 2009-06-01 | 2 | Active | 4 | A
83 | ME2304 | MECH | Define machine vision |  | 2005-11-01 | 2 | Active | 4 | A
84 | ME2304 | MECH | Write the application of Laser Interferometry. |  | 2012-11-01 | 2 | Active | 4 | A
85 | ME2304 | MECH | List any four applications of computer aided inspection. |  | 2011-06-01 | 2 |  | 4 | A
86 | ME2304 | MECH | Distinguish between coordinate and conventional metrology. |  | 2004-04-01 | 2 | Active | 4 | A
87 | ME2304 | MECH | What are load cells? |  | 2011-11-01 | 2 | Active | 5 | A
88 | ME2304 | MECH | List any two methods employed for measuring torque. |  | 2011-11-01 | 2 | Active | 5 | A
89 | ME2304 | MECH | Difference between primary and secondary transducers |  | 2012-12-01 | 2 | Active | 5 | A
90 | ME2304 | MECH | Give the classification of temperature measuring instruments. |  | 2012-12-01 | 2 | Active | 5 | A
91 | ME2304 | MECH | Give the composition and useful temperature range of any one commercial thermocouple |  | 2012-06-01 | 2 | Active | 5 | A
92 | ME2304 | MECH | What are the difference between orifice and venturimeter? |  | 2007-12-01 | 2 | Active | 5 | A
93 | ME2304 | MECH | What is the function of load cell |  | 2013-12-01 | 2 | Active | 5 | A
94 | ME2304 | MECH | Name any four instrument used for mesuring temperature |  | 2013-12-01 | 2 | Active | 5 | A
95 | ME2304 | MECH | What is the principle involved in fluid expansion thermometer? |  | 2014-06-01 | 2 | Active | 5 | A
96 | ME2304 | MECH | Give the principle of hot wire anemometer |  | 2014-06-01 | 2 | Active | 5 | A
97 | ME2304 | MECH | List the instruments used for measuring temperature |  | 2009-11-01 | 2 | Active | 5 | A
98 | ME2304 | MECH | Give the composition and useful temperature range of any one commercial thermocouple? |  | 2011-11-01 | 2 | Active | 5 | A
99 | ME2304 | MECH | What is the working principle of bimetallic thermometer? |  | 2011-11-01 | 2 | Active | 5 | A
100 | ME2304 | MECH | List any two methods employed for measuring torque. |  | 2008-11-01 | 2 | Active | 5 | A
101 | ME2304 | MECH | Differentiate between force and torque. |  | 2009-12-01 | 2 | Active | 5 | A
102 | ME2304 | MECH | Distinguish between ‘Precision and Accuracy’ with suitable examples . |  | 2010-12-01 | 6 | Active | 1 | B
103 | ME2304 | MECH | Explain the following terms in precision measurements. a. Repeatability b. Sensitivity c. Lag d. Derived unit |  | 2011-12-01 | 8 | Active | 1 | B
104 | ME2304 | MECH | Write the detailed notes on units and standards |  | 2012-06-01 | 8 | Active | 1 | B
105 | ME2304 | MECH | Describe in detail systematic errors |  | 2012-06-01 | 8 | Active | 1 | B
106 | ME2304 | MECH | Write notes on: (i) Calibration (ii) Interchangeability |  | 2012-06-01 | 8 | Active | 1 | B
107 | ME2304 | MECH | Draw the block diagram of generalized measurement system and explain the difference stages with examples |  | 2012-12-01 | 12 | Active | 1 | B
108 | ME2304 | MECH | Define accuracy .Explain how the accuracy of an instrument can be specified. |  | 2012-12-01 | 4 | Active | 1 | B
109 | ME2304 | MECH | Briefly explain the various types of input signal. |  | 2012-12-01 | 8 | Active | 1 | B
110 | ME2304 | MECH | Enumerate the desirable characteristics of presion measuring instruments |  | 2013-12-01 | 8 | Active | 1 | B
111 | ME2304 | MECH | Describe the different types of errors in measurement and their causes |  | 2013-12-01 | 8 | Active | 1 | B
112 | ME2304 | MECH | Define "errors" and explain the causes of those erors with suitable examples |  | 2014-06-01 | 16 | Active | 1 | B
113 | ME2304 | MECH | Explain the purpose of calibrating the instrument and discuss the primary and secondary calibration |  | 2012-12-01 | 8 | Active | 1 | B
114 | ME2304 | MECH | Explain different sources of errors. |  | 2011-12-01 | 8 | Active | 1 | B
115 | ME2304 | MECH | Describe the systematic errors and Random errors. Discuss the means adopted to minimize these errors. |  | 2010-12-01 | 8 | Active | 1 | B
116 | ME2304 | MECH | Explain the term ‘interchangeability’ |  | 2010-12-01 | 8 | Active | 1 | B
117 | ME2304 | MECH | Draw the block diagram of the functional elements of a pressure guage and explain the functions of different functional elements. |  | 2010-12-01 | 8 | Active | 1 | B
118 | ME2304 | MECH | Explain with examples the difference between a primary and a secondary standards.What are the working standards. |  | 2011-12-01 | 8 | Active | 1 | B
119 | ME2304 | MECH | Explain the classification of various measuring methods |  | 2008-12-01 | 8 | Active | 1 | B
120 | ME2304 | MECH | What are the principles of High-precision measurements? |  | 2011-11-01 | 8 | Active | 1 | B
121 | ME2304 | MECH | What is the need of calibration? Explain. |  | 2006-12-01 | 8 | Active | 1 | B
122 | ME2304 | MECH | State the main requirements of slip gauges. How is slip gauges manufactured? |  | 2011-11-01 | 8 | Active | 2 | B
123 | ME2304 | MECH | Explain the following with neat sketches. (Dec 2012) (i) Differential screw micrometer (ii) Thread micrometer (iii) Blade type micrometer (iv) Micrometer thread gauge. |  | 2012-12-01 | 16 | Active | 2 | B
124 | ME2304 | MECH | Eplain the working principle of Angle Dekker with a neat sketch.Also write the applications of Angle Dekker |  | 2012-12-01 | 16 | Active | 2 | B
125 | ME2304 | MECH | Explain the precautionary measures to be taken at various stages of using slip gauges for measurement |  | 2012-06-01 | 16 | Active | 2 | B
126 | ME2304 | MECH | Explain mathematically why sine bar are not suitable for measuring angles above 45⁰ |  | 2012-06-01 | 6 | Active | 2 | B
127 | ME2304 | MECH | Describe the working principle,advantages and disadvantages of optical comparators |  | 2014-06-01 | 8 | Active | 2 | B
128 | ME2304 | MECH | Shafts of 75±0.02 mm diameter are to be checked by the help of a GO, No-Go snap gauges. Design the gauge, sketch it and show its Go size and Not Go size dimensions.Assume normal wear allowance allowance and gauge maker's tolerance |  | 2014-06-01 | 16 | Active | 2 | B
129 | ME2304 | MECH | Explain the working principle of AC laser interferometer and explain how the straightness is measured? |  | 2013-12-01 | 16 | Active | 2 | B
130 | ME2304 | MECH | Explain the following angular measurement methods using rollers.(i) Measurement of angle by using rollers.(ii) Checking the angle of taper plug gauge using rollers.(iii) Measuring of included angle of an interval dovetail.(iv) Measuring interior angle of a profile gauge. |  | 2013-12-01 | 16 | Active | 2 | B
131 | ME2304 | MECH | Describe the constructional details of an Angle Decker and explain how it is used to measure the angle. |  | 2011-11-01 | 8 | Active | 2 | B
132 | ME2304 | MECH | Explain , with a sketch, the construction and working of solex pneumatic comparator. |  | 2011-12-01 | 8 | Active | 2 | B
133 | ME2304 | MECH | Explain with a neat sketch how a Vernier Caliper is used for linear measurements. |  | 2009-12-01 | 8 | Active | 2 | B
134 | ME2304 | MECH | With neat diagram explain the construction and working principle of depth micrometer. |  | 2006-12-01 | 8 | Active | 2 | B
135 | ME2304 | MECH | Describe optical bevel protractor and explain how it is used to measure the angle. |  | 2008-05-01 | 8 | Active | 2 | B
136 | ME2304 | MECH | How are the taper angle of bore and dove tail angles of the specimen are checked using standard balls, gauge blocks and vernier |  | 2004-11-01 | 8 | Active | 2 | B
137 | ME2304 | MECH | Explain how flatness errors of lapped surfaces are measured with an optical flat? |  | 2011-11-01 | 8 | Active | 2 | B
138 | ME2304 | MECH | Explain how the measuring head sensitivity vary with variation of diameter of measurement orifice. |  | 2011-11-01 | 8 | Active | 2 | B
139 | ME2304 | MECH | Explain with the help of neat sketches, the principle and construction of an auto-collimator. |  | 2007-11-01 | 8 | Active | 2 | B
140 | ME2304 | MECH | Explain the working of alignment telescope and mention its applications |  | 2004-04-01 | 8 | Active | 2 | B
141 | ME2304 | MECH | With neat sketch explain the construction and working principle of differential pneumatic comparator. |  | 2007-12-01 | 8 | Active | 2 | B
142 | ME2304 | MECH | Explain the following tooth thickness measurement. (i) Constant Chord Method (ii) Chordal Thickness Method. |  | 2012-12-01 | 16 | Active | 3 | B
143 | ME2304 | MECH | Explain with a neat diagram the measurement of straightness using autocollimator. |  | 2012-11-01 | 8 | Active | 3 | B
144 | ME2304 | MECH | With the help of a neat sketch explain the function of a Parkinson gear Rolling Tester used for checking of composite errors. |  | 2011-11-01 | 8 | Active | 3 | B
145 | ME2304 | MECH | Briefly explain the step by step procedure for determining the flatness of a surface with a neat sketch |  | 2012-12-01 | 8 | Active | 3 | B
146 | ME2304 | MECH | Briefly explain the base tangent method of measuring the gear tooth thickness |  | 2012-06-01 | 8 | Active | 3 | B
147 | ME2304 | MECH | Briefly explain the visual inspection methods of surface roughness |  | 2012-06-01 | 8 | Active | 3 | B
148 | ME2304 | MECH | With the help of neat sketch explain the principle of operation of rolling gear tester. |  | 2008-12-01 | 8 | Active | 3 | B
149 | ME2304 | MECH | Explain the method of checking the straightness of a component using either an autocollimator or a sprit level |  | 2012-06-01 | 8 | Active | 3 | B
150 | ME2304 | MECH | Describe the two wire method of finding the effective diameter of screw thread |  | 2014-06-01 | 10 | Active | 3 | B
151 | ME2304 | MECH | Explain with a neat sketch the working of Talsurf instument for surface finish measurment |  | 2014-06-01 | 8 | Active | 3 | B
152 | ME2304 | MECH | Explain how V-block and three point probe are used for measurement of roundness.What are the limitation of V-block? |  | 2013-12-01 | 16 | Active | 3 | B
153 | ME2304 | MECH | What is the symbol for fully defining surace roughness and explain each term |  | 2014-06-01 | 8 | Active | 3 | B
154 | ME2304 | MECH | Discuss the merits and demerits of various roughness parameters RMS,CLA, Rmax |  | 2008-12-01 | 8 | Active | 3 | B
155 | ME2304 | MECH | Explain the base tangent method of measuring the gear tooth thickness. |  | 2012-11-01 | 8 | Active | 3 | B
156 | ME2304 | MECH | Derive an expression for best wire size |  | 2008-12-01 | 8 | Active | 3 | B
157 | ME2304 | MECH | Explain with a schematic diagram the construction and working principle of a Tomlinson surface meter. |  | 2009-06-01 | 8 | Active | 3 | B
158 | ME2304 | MECH | Explain a typical setup using which the measurement of surface finish of a surface is carried out. |  | 2011-11-01 | 8 | Active | 3 | B
159 | ME2304 | MECH | Explain the construction of a screw measuring machine and explain how it is used in measuring the minor diameter of a screw thread. |  | 2009-06-01 | 16 | Active | 3 | B
160 | ME2304 | MECH | Derive the formula for measuring the effective diameter of a screw thread by three wire method. |  | 2010-11-01 | 8 | Active | 3 | B
161 | ME2304 | MECH | Explain the principle of checking involutes profile of gear tooth. |  | 2006-11-01 | 8 | Active | 3 | B
162 | ME2304 | MECH | Explain in detail the roundness testing machine |  | 2008-12-01 | 8 | Active | 3 | B
163 | ME2304 | MECH | With a neat sketch, describe the construction and working of a Stylus-type roughness measuring instrument. |  | 2004-11-01 | 8 | Active | 3 | B
164 | ME2304 | MECH | Explain with the help of a neat sketch the principle and working of laser interferometer. State its applications in machine tool metrology. |  | 2012-11-01 | 12 | Active | 4 | B
165 | ME2304 | MECH | Discuss the application of computer aided inspection. |  | 2011-11-01 | 4 | Active | 4 | B
166 | ME2304 | MECH | Describe the construction and operation of a coordinate measuring machine. |  | 2010-12-01 | 12 | Active | 4 | B
167 | ME2304 | MECH | Explain the construction and working of a laser Telemetric system with a neat sketch |  | 2012-12-01 | 16 | Active | 4 | B
168 | ME2304 | MECH | Explain the construction and working of various bridge type Co-ordinate Measuring Machines |  | 2012-12-01 | 16 | Active | 4 | B
169 | ME2304 | MECH | Explain the constructional and working details of horizontal arm CMM |  | 2012-01-01 | 16 | Active | 4 | B
170 | ME2304 | MECH | State the advantages of CMM |  | 2010-12-01 | 4 | Active | 4 | B
171 | ME2304 | MECH | Explain the various geometrical tests that are to be done to get a better accuracy in the machine tool ? |  | 2006-12-01 | 8 | Active | 4 | B
172 | ME2304 | MECH | With a neat sketch explain the dimensional measurement using scanning Laser Gauge |  | 2013-12-01 | 12 | Active | 4 | B
173 | ME2304 | MECH | Name the alignment tests perfomed on milling machine |  | 2013-12-01 | 4 | Active | 4 | B
174 | ME2304 | MECH | Explain the various types of co-ordinate measuring machines with a neat sketch |  | 2013-12-01 | 16 | Active | 4 | B
175 | ME2304 | MECH | Explain in detail the various methods of testing accuracy of horizontal milling machine and lathe using laser Interferometer |  | 2014-06-01 | 16 | Active | 4 | B
176 | ME2304 | MECH | How are pitch and yaw errors in X-axis table movement of a vertical milling machine measured |  | 2004-11-01 | 8 | Active | 4 | B
177 | ME2304 | MECH | Sketch a bridge type CMM. Explain the procedure to be used in measurement of various dimensions of a typical component using it |  | 2011-12-01 | 12 | Active | 4 | B
178 | ME2304 | MECH | List out the various probe used in CMM and explain the working principle of touch trigger probe. |  | 2005-11-01 | 8 | Active | 4 | B
179 | ME2304 | MECH | Explain with a neat diagram the construction and working principle of heterodyne laser interferometer |  | 2009-11-01 | 8 | Active | 4 | B
180 | ME2304 | MECH | Explain the various geometrical tests that are to be get accuracy in the machine tool. |  | 2006-12-01 | 8 | Active | 4 | B
181 | ME2304 | MECH | Discuss the need of computers in inspection. |  | 2005-11-01 | 8 | Active | 4 | B
182 | ME2304 | MECH | Explain the procedure to be used in measurement of various dimensions of a typical component using a cantilever type CMM |  | 2008-12-01 | 8 | Active | 4 | B
183 | ME2304 | MECH | Briefly explain the calibration of three co-ordinate measuring machine with neat sketch. |  | 2005-04-01 | 8 | Active | 4 | B
184 | ME2304 | MECH | Explain in detail the various methods of testing accuracy of lathe using laser interferometer. |  | 2005-11-01 | 8 | Active | 4 | B
185 | ME2304 | MECH | Explain the construction and working of a hydraulic force meter. |  | 2011-11-01 | 8 | Active | 5 | B
186 | ME2304 | MECH | Discuss the advantages and disadvantages of the following:1. Pitot tube 2. Rotometer |  | 2011-11-01 | 8 | Active | 5 | B
187 | ME2304 | MECH | Explain with a neat sketch the construction and working of a McLeod Gauge |  | 2011-11-01 | 10 | Active | 5 | B
188 | ME2304 | MECH | Draw a simple sketch of a noncontact type temperature measuring instrument and describe each element. |  | 2011-11-01 | 6 | Active | 5 | B
189 | ME2304 | MECH | Explain the principle of operation of a hydraulic dynamometer. |  | 2010-11-01 | 8 | Active | 5 | B
190 | ME2304 | MECH | Explain the principle of operation of a Bourdon tube pressure gauge. |  | 2010-11-01 | 8 | Active | 5 | B
191 | ME2304 | MECH | Explain the working of a rotameter with a neat sketch |  | 2010-11-01 | 8 | Active | 5 | B
192 | ME2304 | MECH | Using a sketch, explain the working of an optical pyrometer. |  | 2010-11-01 | 8 | Active | 5 | B
193 | ME2304 | MECH | Explain the construction and working of a Rotometer |  | 2012-12-01 | 8 | Active | 5 | B
194 | ME2304 | MECH | With a neat sketch explain how bimetallic strips are used for temperature measurements |  | 2012-12-01 | 8 | Active | 5 | B
195 | ME2304 | MECH | Explain the working and purpose of electrical resistance thermisters |  | 2012-12-01 | 8 | Active | 5 | B
196 | ME2304 | MECH | Descrbe the construction of a hydraulic dynamometer and explain how it is used for power measurement? |  | 2013-12-01 | 8 | Active | 5 | B
197 | ME2304 | MECH | With a sketch explain the velocity measurement using Hot wire Anemometer |  | 2013-12-01 | 8 | Active | 5 | B
198 | ME2304 | MECH | With a neat sketch explain the flow measurement using Pitot Tube |  | 2013-12-01 | 8 | Active | 5 | B
199 | ME2304 | MECH | Explain the method of measuring force using a strain gauge load cell |  | 2014-06-01 | 8 | Active | 5 | B
200 | ME2304 | MECH | Explain how an Eddy current dynometer works |  | 2014-06-01 | 8 | Active | 5 | B
201 | ME2304 | MECH | What are thermo couples ? State its applications |  | 2014-06-01 | 6 | Active | 5 | B
202 | ME2304 | MECH | With a neat sketch eplain the torque measurement using Strain Gauges |  | 2013-12-01 | 8 | Active | 5 | B
203 | ME2304 | MECH | Briefly explain a torque meter |  | 2008-04-01 | 8 | Active | 5 | B
204 | ME2304 | MECH | Describe with neat sketchs strain gauge torque meter |  | 2009-12-01 | 8 | Active | 5 | B
205 | ME2304 | MECH | Describe any one method to measure very high pressure |  | 2008-12-01 | 8 | Active | 5 | B
206 | ME2304 | MECH | Explain the construction and working of a venturimeter |  | 2012-12-01 | 8 | Active | 5 | B
207 | ME2304 | MECH | Describe any one four power measurement equipment |  | 2007-12-01 | 8 | Active | 5 | B